AUTONOMOUS

DEPARTMENT OF COMPUTER SCIENCE ENGINEERING

SET-1

MID-I QUESTION PAPER –SEP-2022

| Year / Sem: III/I | Programme: CSE | Course Code: UR20OEEE505A Date: -09-22 |
| --- | --- | --- |
| Course Name: RES | Total Marks: 15M | Time: 90min |

CO: Course Outcome   			 Level: Bloom’s Taxonomy (Level 1-6)

Answer ALL questions

| CO no. | Level | Q.No | Question |
| --- | --- | --- | --- |
| 1 | 2&2 | 1 | - What are the classification of energy resources and explain briefly? - Write short notes on energy audit? |
| 2 | 2 | 2 | Explain the construction and working of liquid flat plate collector? |
| 3 | 2 | 3 | Define solar irradiance, solar constant, extra-terrestrial and terrestrial radiations. |

CO1: Analyze solar radiation data, extraterrestrial radiation, and radiation on earth’s surface.

CO2: Design solar thermal collectors, solar thermal plants.

CO3: Design solar photo voltaic systems.

AUTONOMOUS

DEPARTMENT OF COMPUTER SCIENCE ENGINEERING

SET-2

MID-I QUESTION PAPER –SEP-2022

| Year / Sem: III/I | Programme: CSE | Course Code: UR20OEEE505A Date: -09-22 |
| --- | --- | --- |
| Course Name: RES | Total Marks: 15M | Time: 90min |

CO: Course Outcome   			 Level: Bloom’s Taxonomy (Level 1-6)

Answer ALL questions

| CO no. | Level | Q.No | Question |
| --- | --- | --- | --- |
| 1 | 2&3 | 1 | - What is solar radiation and explain the terms associated with solar radiation ? - Differentiate the renewable and non renewable energy sources ? |
| 2 | 2 | 2 | Explain the construction and working of solar pond thermal power plant ? |
| 3 | 2 | 3 | Explain construction and working of pyhilometer instrument? |

CO1: Analyze solar radiation data, extraterrestrial radiation, and radiation on earth’s surface.

CO2: Design solar thermal collectors, solar thermal plants.

CO3: Design solar photo voltaic systems.